UNAVCO Polar Remote Site Installation Checklist	Version 4.0, April 4 2013	PAGE 1 OF 3

PI and Project	____________________________________________________________________________

Station 4-CHID	_____________ Station Name ___________________________________________________

Location	____________________________________________________________________________

PART 1: EQUIPMENT DETAILS	FILL OUT PRIOR TO DEPLOYMENT

GPS RECEIVER

UNAVCO ID    _______________  Serial number        ________________  Receiver type     _______________

Firmware         _______________  Autodelete setting  ________________  Autoreboot setting   ____________

GPS ANTENNA

UNAVCO ID	____________ Serial number   ______________  Antenna type   ________________________

Radome type	____________ Serial number   ______________

GPS MONUMENT

Monument type	____________________________________________________________________________

COMMUNICATIONS

Primary Iridium UID	     ____________________  	Secondary Iridium UID        ______________________

Primary Iridium Model         ____________________ 	Secondary Iridium Model    ______________________

Primary timer on/off	     ____________________  	Secondary timer on/off	     ______________________

Primary phone #	     ____________________	Secondary phone #	     ______________________

Radio modem UID	      ______________________	Radio timer on/off   	    ______________________

Radio modem model	      ______________________	Radio antenna type	    ______________________

WEATHER STATION

Weather station UID	      ______________________  Weather station  model	    ______________________

POWER SYSTEM

# Batteries		      ______________________	Structural frame type	    ______________________

# and type of solar panels   ______________________ 	# and type of enclosures    ______________________

# and type of wind turbines ______________________	# and type of heat pads	    ______________________

Grounding plate?	     ______________________	GPS surge suppressor?     ______________________

Iridium surge suppressors? ______________________

NOTES

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

UNAVCO Polar Remote Site Installation Checklist	Version 4.0, April 4 2013	PAGE 2 OF 3

Date  UTC 	_____________________   Time UTC  _____________________ Station 4-CHID   ___________

Personnel	_______________________________________________________________________________

PART 2: STATION DETAILS AND CHECKS	FILL OUT ON-SITE

CHECK VOLTAGES	(see MEASURING VOLTAGES section in Remote Site Visit Procedures form)

Breakers OFF	Main battery_________	Aux bank 1  _________	  Aux bank 2  _________  Aux bank 3  _________

Solar 1 	       _________	Solar 2         _________	  Solar 3         _________  Solar 4        _________

Wind 1	       _________	Wind 2         _________   Heat pad Ω _________

Breakers ON	Load V	       _________

□ All connectors attached to INTERNAL enclosure wall

□ All connectors attached to EXTERNAL enclosure wall

NETRS FRONT PANEL		   NETR9 FRONT PANEL		SOLAR AND WIND REGULATOR LED’S

□ Satellite:   	red 1Hz		   □ Lower Left:    Logging / USB	□ Solar charge: green, or red w/green flash

□ Data:       	yellow 1Hz	   □ Upper Left:	    SV X    (X>5)		□ Solar LVD: 	 green (magnet to reset if red)

□ Power A:  	solid green	   □ Upper Right:  Battery icon		□ Wind charge: green, or red w/green flash

□ Power B: 	solid yellow

IF XEOS IRIDIUM:		See IRIDIUM CHECKS section in Remote Site Visit Procedures form

□ MDM OK LED solid yellow?   □ DAS OK LED solid yellow?                □ SAT OK LED solid yellow?

Call UNAVCO for further communications checks

□ Interior Photographs		□ Close-ups of GPS & Iridium devices    □ Close-ups of breakers and wiring

□ Overall view of GPS electronics board □ Overall view inside main enclosure

□ Power connectors on enclosure wall	  □ RF and ground cables on enclosure wall

□ Foam cap around electronics

□ Anti-static bag, alligator clip leads, ground wires

□ Verify all breakers on (red showing)

□ Enclosures closed, latched, and strapped

□ Exterior photographs	□ General site photo		       	□ GPS mast, and cable

□ GPS antenna, including sky view 	□ North □ East □ South □ West

□ Frame, front side		       	□ Frame, back side

□ Connectors on enclosure wall      	□ Top rail: Met, Iridium

□ Landing zone and aircraft if possible

□ Primary dial-up Iridium check 	See IRIDIUM CHECKS section in Remote Site Visit Procedures form

□ Secondary dial-up Iridium check

UNAVCO Polar Remote Site Installation Checklist	Version 4.0, April 4 2013	PAGE 3 OF 3

Date  UTC     _____________________   Time UTC  _____________________ Station 4-CHID   _____________

PART 2: STATION DETAILS AND CHECKS (CONTINUED)	FILL OUT ON-SITE

Site coordinates (+/- few meters)   Lat: ____________________   Lon: ____________________   Hgt: _________

Obstructions in sky view > 10 degrees  	  __________________________________________________________

Notes about rock surface  ______________________________________________________________________

______________________________________________________________________

Antenna height above surface (snow site only)		______________________________________________

Distance from frame to GPS antenna			______________________________________________

GPS antenna oriented toward true north?		______________________________________________

Length / type of GPS antenna cable			______________________________________________

Direction solar panels are facing				______________________________________________

Weather station height above/below (+/-) GPS antenna 	______________________________________________

Weather station oriented toward true north?		______________________________________________

# and type of frame anchors				______________________________________________

Anti-static bag with ground wires installed?		______________________________________________

Protective gnome installed?				______________________________________________

Distance to landing zone / notes about access to site	______________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

NOTES

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________

___________________________________________________________________________________________