Receiver Field Prep Checklist							UNAVCO - Nov 05

- Hard reset receiver

- Load UNAVCO configuration

- Verify data logging begins automatically on power up

- Test antenna cable

- Test antenna

- Verify spare fuses

- Verify CF card (adequate capacity, industrial spec)

- Check system for physical damage